## Turbidimetric 1_01
Measurement results
15062023_Sofia_OT2_colyo_6h.skax
15/06/2023 16:52:47
Turbidimetric 1
Wavelength: 600 nm
Plate 1
OD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.2274 | 0.3377 | 0.3339 | 0.5916 | 0.5097 | 0.5248 | 0.6921 | 0.7635 | 0.5609 |  | 0.0412 | 0.0406
B | 0.2904 | 0.3943 | 0.312 | 0.3182 | 0.446 | 0.8254 | 0.3331 | 0.3552 | 0.522 |  | 0.043 | 0.0469
C | 0.3204 | 0.3742 | 0.4162 | 0.6359 | 0.6765 | 0.6311 | 0.3142 | 0.3835 | 0.2018 |  | 0.0394 | 0.0388
D | 0.0353 | 0.0366 | 0.0348 | 0.3773 | 0.8629 | 0.7215 | 0.6254 | 0.4607 | 0.1199 |  | 0.0384 | 0.0386
E | 0.0339 | 0.0361 | 0.0338 | 0.6876 | 0.857 | 0.7327 | 0.3817 | 0.4013 | 0.3573 |  | 0.0367 | 0.0363
F | 0.0318 | 0.0322 | 0.0341 | 0.4105 | 0.885 | 0.8276 | 0.5304 | 0.5142 | 0.509 |  | 0.0369 | 0.04
G |  |  |  | 0.6524 | 0.4902 | 0.7977 | 0.1152 | 0.0997 | 0.2991 |  | 0.0402 | 0.0357
H |  |  |  | 0.6178 | 0.3904 | 0.6108 | 0.103 | 0.3571 | 0.3483 |  | 0.0425 | 0.0373
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## msfGFP_02
Measurement results
15062023_Sofia_OT2_colyo_6h.skax
15/06/2023 16:52:47
msfGFP
Ex 485 nm, Em 510 nm
Plate 1
RFU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.2 | 3.723 | 3.476 | 11.6 | 17.39 | 32.78 | 28.38 | 36.9 | 33.82 |  | 0.5483 | 0.5563
B | 3.533 | 3.872 | 3.572 | 17.43 | 15.58 | 28.74 | 51.51 | 18.23 | 58.42 |  | 0.5402 | 0.6199
C | 3.511 | 3.899 | 3.939 | 13.21 | 27.93 | 25.44 | 54.41 | 34.18 | 10.47 |  | 0.4981 | 0.498
D | 2.454 | 2.817 | 3.094 | 21.03 | 27.37 | 23.91 | 47.19 | 40.53 | 7.294 |  | 0.4943 | 0.5168
E | 3.509 | 3.463 | 3.412 | 26.59 | 28.28 | 25.9 | 46.47 | 47.84 | 49.15 |  | 0.4957 | 0.4704
F | 3.117 | 3.295 | 3.607 | 25.47 | 33.67 | 28.66 | 42.09 | 42.52 | 12.73 |  | 0.51 | 0.5344
G |  |  |  | 24.55 | 17.04 | 28 | 8.329 | 8.87 | 39.41 |  | 0.489 | 0.4623
H |  |  |  | 17.47 | 17.96 | 23.29 | 26.39 | 23.75 | 25.32 |  | 0.5485 | 0.4983
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## mKate2_03
Measurement results
15062023_Sofia_OT2_colyo_6h.skax
15/06/2023 16:52:47
mKate2
Ex 588 nm, Em 633 nm
Plate 1
RFU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.09672 | 0.08578 | 0.06124 | 0.09897 | 0.09684 | 0.09189 | 0.1067 | 0.1159 | 0.1168 |  | 0.02663 | 0.06373
B | 0.07786 | 0.08709 | 0.08519 | 0.09752 | 0.1071 | 0.09304 | 0.09196 | 0.1083 | 0.1304 |  | 0.04919 | 0.06609
C | 0.1026 | 0.09743 | 0.1123 | 0.09461 | 0.09019 | 0.0818 | 0.1056 | 0.1244 | 0.09511 |  | 0.06782 | 0.05574
D | 0.103 | 0.09546 | 0.1449 | 0.1378 | 0.08996 | 0.08366 | 0.1466 | 0.105 | 0.1357 |  | 0.0516 | 0.03586
E | 0.1045 | 0.1344 | 0.09201 | 0.1169 | 0.1163 | 0.1052 | 0.1263 | 0.09087 | 0.1022 |  | 0.07337 | 0.06914
F | 0.07687 | 0.1049 | 0.1063 | 0.1134 | 0.1008 | 0.09898 | 0.09945 | 0.1282 | 0.09543 |  | 0.05435 | 0.06223
G |  |  |  | 0.0935 | 0.08709 | 0.1235 | 0.09758 | 0.1146 | 0.1438 |  | 0.0385 | 0.04395
H |  |  |  | 0.1247 | 0.1394 | 0.152 | 0.1178 | 0.08449 | 0.08721 |  | 0.06227 | 0.03051
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## Result summary
Results summary
General
Plate | Well | Group | Sample | Turbidimetric 1 (600nm) | msfGFP (485/510nm) | mKate2 (588/633nm)
Plate 1 | A01 | Group 1 | PIR2 0001 | 0.2274 | 3.2 | 0.09672
Plate 1 | B01 | Group 1 | PIR2 10 mM IPTG0001 | 0.2904 | 3.533 | 0.07786
Plate 1 | C01 | Group 1 | PIR2 100 ngmL aTc0001 | 0.3204 | 3.511 | 0.1026
Plate 1 | D01 | Group 1 | LB0001 | 0.0353 | 2.454 | 0.103
Plate 1 | E01 | Group 1 | Ctrl IPTG 10mM0001 | 0.0339 | 3.509 | 0.1045
Plate 1 | F01 | Group 1 | Ctrl ATC 200 ng0001 | 0.0318 | 3.117 | 0.07687
Plate 1 | A02 | Group 1 | PIR2 0001 | 0.3377 | 3.723 | 0.08578
Plate 1 | B02 | Group 1 | PIR2 10 mM IPTG0001 | 0.3943 | 3.872 | 0.08709
Plate 1 | C02 | Group 1 | PIR2 100 ngmL aTc0001 | 0.3742 | 3.899 | 0.09743
Plate 1 | D02 | Group 1 | LB0001 | 0.0366 | 2.817 | 0.09546
Plate 1 | E02 | Group 1 | Ctrl IPTG 10mM0002 | 0.0361 | 3.463 | 0.1344
Plate 1 | F02 | Group 1 | Ctrl ATC 200 ng0002 | 0.0322 | 3.295 | 0.1049
Plate 1 | A03 | Group 1 | PIR2 0001 | 0.3339 | 3.476 | 0.06124
Plate 1 | B03 | Group 1 | PIR2 10 mM IPTG0001 | 0.312 | 3.572 | 0.08519
Plate 1 | C03 | Group 1 | PIR2 100 ngmL aTc0001 | 0.4162 | 3.939 | 0.1123
Plate 1 | D03 | Group 1 | LB0001 | 0.0348 | 3.094 | 0.1449
Plate 1 | E03 | Group 1 | Ctrl IPTG 10mM0003 | 0.0338 | 3.412 | 0.09201
Plate 1 | F03 | Group 1 | Ctrl ATC 200 ng0003 | 0.0341 | 3.607 | 0.1063
Plate 1 | A04 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.5916 | 11.6 | 0.09897
Plate 1 | B04 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.3182 | 17.43 | 0.09752
Plate 1 | C04 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.6359 | 13.21 | 0.09461
Plate 1 | D04 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.3773 | 21.03 | 0.1378
Plate 1 | E04 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.6876 | 26.59 | 0.1169
Plate 1 | F04 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.4105 | 25.47 | 0.1134
Plate 1 | G04 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.6524 | 24.55 | 0.0935
Plate 1 | H04 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.6178 | 17.47 | 0.1247
Plate 1 | A05 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.5097 | 17.39 | 0.09684
Plate 1 | B05 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.446 | 15.58 | 0.1071
Plate 1 | C05 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.6765 | 27.93 | 0.09019
Plate 1 | D05 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.8629 | 27.37 | 0.08996
Plate 1 | E05 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.857 | 28.28 | 0.1163
Plate 1 | F05 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.885 | 33.67 | 0.1008
Plate 1 | G05 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.4902 | 17.04 | 0.08709
Plate 1 | H05 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.3904 | 17.96 | 0.1394
Plate 1 | A06 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.5248 | 32.78 | 0.09189
Plate 1 | B06 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.8254 | 28.74 | 0.09304
Plate 1 | C06 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.6311 | 25.44 | 0.0818
Plate 1 | D06 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.7215 | 23.91 | 0.08366
Plate 1 | E06 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.7327 | 25.9 | 0.1052
Plate 1 | F06 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.8276 | 28.66 | 0.09898
Plate 1 | G06 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.7977 | 28 | 0.1235
Plate 1 | H06 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.6108 | 23.29 | 0.152
Plate 1 | A07 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.6921 | 28.38 | 0.1067
Plate 1 | B07 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.3331 | 51.51 | 0.09196
Plate 1 | C07 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.3142 | 54.41 | 0.1056
Plate 1 | D07 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.6254 | 47.19 | 0.1466
Plate 1 | E07 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.3817 | 46.47 | 0.1263
Plate 1 | F07 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.5304 | 42.09 | 0.09945
Plate 1 | G07 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.1152 | 8.329 | 0.09758
Plate 1 | H07 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.103 | 26.39 | 0.1178
Plate 1 | A08 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.7635 | 36.9 | 0.1159
Plate 1 | B08 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.3552 | 18.23 | 0.1083
Plate 1 | C08 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.3835 | 34.18 | 0.1244
Plate 1 | D08 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.4607 | 40.53 | 0.105
Plate 1 | E08 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.4013 | 47.84 | 0.09087
Plate 1 | F08 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.5142 | 42.52 | 0.1282
Plate 1 | G08 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.0997 | 8.87 | 0.1146
Plate 1 | H08 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.3571 | 23.75 | 0.08449
Plate 1 | A09 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.5609 | 33.82 | 0.1168
Plate 1 | B09 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.522 | 58.42 | 0.1304
Plate 1 | C09 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.2018 | 10.47 | 0.09511
Plate 1 | D09 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.1199 | 7.294 | 0.1357
Plate 1 | E09 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.3573 | 49.15 | 0.1022
Plate 1 | F09 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.509 | 12.73 | 0.09543
Plate 1 | G09 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.2991 | 39.41 | 0.1438
Plate 1 | H09 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.3483 | 25.32 | 0.08721
Plate 1 | A11 | Group 1 | Blank1 | 0.0412 | 0.5483 | 0.02663
Plate 1 | B11 | Group 1 | Blank1 | 0.043 | 0.5402 | 0.04919
Plate 1 | C11 | Group 1 | Blank1 | 0.0394 | 0.4981 | 0.06782
Plate 1 | D11 | Group 1 | Blank1 | 0.0384 | 0.4943 | 0.0516
Plate 1 | E11 | Group 1 | Blank1 | 0.0367 | 0.4957 | 0.07337
Plate 1 | F11 | Group 1 | Blank1 | 0.0369 | 0.51 | 0.05435
Plate 1 | G11 | Group 1 | Blank1 | 0.0402 | 0.489 | 0.0385
Plate 1 | H11 | Group 1 | Blank1 | 0.0425 | 0.5485 | 0.06227
Plate 1 | A12 | Group 1 | Blank1 | 0.0406 | 0.5563 | 0.06373
Plate 1 | B12 | Group 1 | Blank1 | 0.0469 | 0.6199 | 0.06609
Plate 1 | C12 | Group 1 | Blank1 | 0.0388 | 0.498 | 0.05574
Plate 1 | D12 | Group 1 | Blank1 | 0.0386 | 0.5168 | 0.03586
Plate 1 | E12 | Group 1 | Blank1 | 0.0363 | 0.4704 | 0.06914
Plate 1 | F12 | Group 1 | Blank1 | 0.04 | 0.5344 | 0.06223
Plate 1 | G12 | Group 1 | Blank1 | 0.0357 | 0.4623 | 0.04395
Plate 1 | H12 | Group 1 | Blank1 | 0.0373 | 0.4983 | 0.03051

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51
Laboratory information
| Name | IGLI-ER
| Address | DGH
| Phone | DGHDGM
| Email | DGG

## Session information
Session information
| Session name | 15062023_Sofia_OT2_colyo_6h.skax
Session notes
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 15/06/2023 16:52:47
| User | VARIOSKAN2\usuario1

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Set temperature |  | 28,00 °C
| Optical response compensation |  | Yes
| Serial number |  | 3020-097
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2034806
|  | Module's name | TRF module
|  | Module's serial number | LT152202
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser 1 | Yes
|  | Dispenser 2 | Yes

## Protocol parameters
Protocol parameters
| Measurement order |  | 3
| Use settle delay |  | Yes
| Check temperature at start [°C] |  | No
Turbidimetric 1
| Wavelength [nm] |  | 600
| Use transmittance |  | No
| Pathlength correction |  | No
| Measurement Time [ms] |  | 100
msfGFP
Wavelengths
|  | Excitation [nm] | 485
|  | Emission [nm] | 510
| Optics |  | Top
| Excitation bandwidth [nm] |  | 12
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100
mKate2
Wavelengths
|  | Excitation [nm] | 588
|  | Emission [nm] | 633
| Optics |  | Top
| Excitation bandwidth [nm] |  | 12
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run log
Run log
| Time | Event | Information
| 15/06/2023 16:52:47 | Session 15062023_Sofia_OT2_colyo_6h.skax started
| 15/06/2023 16:52:47 | Temperature | 28,0°C
| 15/06/2023 16:52:48 | Step Turbidimetric 1 started
| 15/06/2023 16:52:48 | Temperature | 28,0°C
| 15/06/2023 16:53:16 | Step Turbidimetric 1 ended
| 15/06/2023 16:53:16 | Step msfGFP started
| 15/06/2023 16:53:23 | Calibration | Fluorometric 1.05486 11031813
| 15/06/2023 16:53:48 | Temperature | 28,0°C
| 15/06/2023 16:53:56 | Step msfGFP ended
| 15/06/2023 16:53:56 | Step mKate2 started
| 15/06/2023 16:54:27 | Step mKate2 ended
| 15/06/2023 16:54:27 | Temperature | 28,0°C
| 15/06/2023 16:54:29 | Session 15062023_Sofia_OT2_colyo_6h.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 0 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 0 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
|  |  |  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
|  |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
|  |  |  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
|  |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1