## Turbidimetric 1_01
Measurement results
16062023_Sofia_OT2_1t_6h.skax
16/06/2023 19:01:22
Turbidimetric 1
Wavelength: 600 nm
Plate 1
OD | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.3662 | 0.4265 | 0.4454 | 0.5213 | 0.8233 | 0.5296 | 0.4349 | 0.5179 | 0.4192 |  | 0.0474 | 0.0447
B | 0.382 | 0.3848 | 0.3919 | 0.2549 | 0.1843 | 0.1959 | 0.6204 | 0.5466 | 0.5317 |  | 0.0484 | 0.0476
C | 0.3754 | 0.4934 | 0.4672 | 0.2668 | 0.2439 | 0.1968 | 0.5971 | 0.5273 | 0.4681 |  | 0.0405 | 0.046
D | 0.0425 | 0.0399 | 0.0409 | 0.2194 | 0.2945 | 0.2594 | 0.3392 | 0.2229 | 0.5778 |  | 0.0421 | 0.0393
E | 0.0393 | 0.038 | 0.0383 | 0.306 | 0.2618 | 0.2337 | 0.4583 | 0.6662 | 0.5995 |  | 0.0394 | 0.0406
F | 0.0348 | 0.0362 | 0.0358 | 0.1295 | 0.1603 | 0.0957 | 0.393 | 0.5064 | 0.5408 |  | 0.0345 | 0.0392
G |  |  |  | 0.1044 | 0.0744 | 0.0977 | 0.2004 | 0.2949 | 0.5613 |  | 0.0378 | 0.0385
H |  |  |  | 0.0749 | 0.0784 | 0.0986 | 0.2281 | 0.4433 | 0.5982 |  | 0.0387 | 0.038
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## msfGFP_02
Measurement results
16062023_Sofia_OT2_1t_6h.skax
16/06/2023 19:01:22
msfGFP
Ex 485 nm, Em 510 nm
Plate 1
RFU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3.619 | 3.681 | 3.864 | 18.04 | 29.59 | 15.21 | 15.21 | 18.44 | 13.67 |  | 0.6603 | 0.6254
B | 3.927 | 3.774 | 3.677 | 14 | 10.63 | 23.98 | 19.8 | 15.18 | 13.47 |  | 0.6901 | 0.5284
C | 3.712 | 3.763 | 3.523 | 10.21 | 25.27 | 9.598 | 16.2 | 13.11 | 14.42 |  | 0.6504 | 0.5316
D | 0.6938 | 3.027 | 2.739 | 10.62 | 11.11 | 19.38 | 10.14 | 15.57 | 15.66 |  | 0.5621 | 0.5632
E | 2.784 | 3.315 | 3.165 | 11.21 | 10.77 | 10.96 | 15.16 | 20.23 | 24.91 |  | 0.5236 | 0.5284
F | 3.301 | 3.419 | 3.448 | 9.594 | 8.176 | 5.98 | 11.05 | 17.46 | 20.1 |  | 0.7481 | 0.5019
G |  |  |  | 8.6 | 5.7 | 14.02 | 10.05 | 11.81 | 17.33 |  | 0.5255 | 0.5581
H |  |  |  | 6.995 | 6.356 | 8.526 | 7.991 | 9.16 | 11.5 |  | 0.5325 | 0.5214
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## mKate2_03
Measurement results
16062023_Sofia_OT2_1t_6h.skax
16/06/2023 19:01:22
mKate2
Ex 588 nm, Em 633 nm
Plate 1
RFU | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0.08091 | 0.0784 | 0.1118 | 0.1193 | 0.1019 | 0.09017 | 0.1228 | 0.1135 | 0.1258 |  | 0.06464 | 0.05606
B | 0.07044 | 0.09215 | 0.09441 | 0.09537 | 0.1196 | 0.05697 | 0.1159 | 0.08356 | 0.1009 |  | 0.09193 | 0.0518
C | 0.09265 | 0.08426 | 0.0734 | 0.08664 | 0.1203 | 0.1137 | 0.05442 | 0.08678 | 0.08207 |  | 0.06421 | 0.0569
D | 0.04951 | 0.1108 | 0.07224 | 0.09603 | 0.07937 | 0.08321 | 0.06523 | 0.08692 | 0.1098 |  | 0.03913 | 0.04976
E | 0.08197 | 0.07737 | 0.1023 | 0.1127 | 0.12 | 0.09453 | 0.09688 | 0.09438 | 0.1352 |  | 0.03667 | 0.0483
F | 0.1079 | 0.09149 | 0.1276 | 0.112 | 0.06524 | 0.06824 | 0.07636 | 0.1072 | 0.07275 |  | 0.06349 | 0.03698
G |  |  |  | 0.07694 | 0.07648 | 0.1051 | 0.1016 | 0.1256 | 0.108 |  | 0.05716 | 0.06427
H |  |  |  | 0.1051 | 0.08586 | 0.1128 | 0.18 | 0.14 | 0.1577 |  | 0.03531 | 0.04612
Sample | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
Autoloading range A1 - M28

## Result summary
Results summary
General
Plate | Well | Group | Sample | Turbidimetric 1 (600nm) | msfGFP (485/510nm) | mKate2 (588/633nm)
Plate 1 | A01 | Group 1 | PIR2 0001 | 0.3662 | 3.619 | 0.08091
Plate 1 | B01 | Group 1 | PIR2 10 mM IPTG0001 | 0.382 | 3.927 | 0.07044
Plate 1 | C01 | Group 1 | PIR2 100 ngmL aTc0001 | 0.3754 | 3.712 | 0.09265
Plate 1 | D01 | Group 1 | LB0001 | 0.0425 | 0.6938 | 0.04951
Plate 1 | E01 | Group 1 | Ctrl IPTG 10mM0001 | 0.0393 | 2.784 | 0.08197
Plate 1 | F01 | Group 1 | Ctrl ATC 200 ng0001 | 0.0348 | 3.301 | 0.1079
Plate 1 | A02 | Group 1 | PIR2 0001 | 0.4265 | 3.681 | 0.0784
Plate 1 | B02 | Group 1 | PIR2 10 mM IPTG0001 | 0.3848 | 3.774 | 0.09215
Plate 1 | C02 | Group 1 | PIR2 100 ngmL aTc0001 | 0.4934 | 3.763 | 0.08426
Plate 1 | D02 | Group 1 | LB0001 | 0.0399 | 3.027 | 0.1108
Plate 1 | E02 | Group 1 | Ctrl IPTG 10mM0002 | 0.038 | 3.315 | 0.07737
Plate 1 | F02 | Group 1 | Ctrl ATC 200 ng0002 | 0.0362 | 3.419 | 0.09149
Plate 1 | A03 | Group 1 | PIR2 0001 | 0.4454 | 3.864 | 0.1118
Plate 1 | B03 | Group 1 | PIR2 10 mM IPTG0001 | 0.3919 | 3.677 | 0.09441
Plate 1 | C03 | Group 1 | PIR2 100 ngmL aTc0001 | 0.4672 | 3.523 | 0.0734
Plate 1 | D03 | Group 1 | LB0001 | 0.0409 | 2.739 | 0.07224
Plate 1 | E03 | Group 1 | Ctrl IPTG 10mM0003 | 0.0383 | 3.165 | 0.1023
Plate 1 | F03 | Group 1 | Ctrl ATC 200 ng0003 | 0.0358 | 3.448 | 0.1276
Plate 1 | A04 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.5213 | 18.04 | 0.1193
Plate 1 | B04 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.2549 | 14 | 0.09537
Plate 1 | C04 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.2668 | 10.21 | 0.08664
Plate 1 | D04 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.2194 | 10.62 | 0.09603
Plate 1 | E04 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.306 | 11.21 | 0.1127
Plate 1 | F04 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.1295 | 9.594 | 0.112
Plate 1 | G04 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.1044 | 8.6 | 0.07694
Plate 1 | H04 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.0749 | 6.995 | 0.1051
Plate 1 | A05 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.8233 | 29.59 | 0.1019
Plate 1 | B05 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.1843 | 10.63 | 0.1196
Plate 1 | C05 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.2439 | 25.27 | 0.1203
Plate 1 | D05 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.2945 | 11.11 | 0.07937
Plate 1 | E05 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.2618 | 10.77 | 0.12
Plate 1 | F05 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.1603 | 8.176 | 0.06524
Plate 1 | G05 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.0744 | 5.7 | 0.07648
Plate 1 | H05 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.0784 | 6.356 | 0.08586
Plate 1 | A06 | Group 1 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | 0.5296 | 15.21 | 0.09017
Plate 1 | B06 | Group 1 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | 0.1959 | 23.98 | 0.05697
Plate 1 | C06 | Group 1 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | 0.1968 | 9.598 | 0.1137
Plate 1 | D06 | Group 1 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | 0.2594 | 19.38 | 0.08321
Plate 1 | E06 | Group 1 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | 0.2337 | 10.96 | 0.09453
Plate 1 | F06 | Group 1 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | 0.0957 | 5.98 | 0.06824
Plate 1 | G06 | Group 1 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | 0.0977 | 14.02 | 0.1051
Plate 1 | H06 | Group 1 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | 0.0986 | 8.526 | 0.1128
Plate 1 | A07 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.4349 | 15.21 | 0.1228
Plate 1 | B07 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.6204 | 19.8 | 0.1159
Plate 1 | C07 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.5971 | 16.2 | 0.05442
Plate 1 | D07 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.3392 | 10.14 | 0.06523
Plate 1 | E07 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.4583 | 15.16 | 0.09688
Plate 1 | F07 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.393 | 11.05 | 0.07636
Plate 1 | G07 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.2004 | 10.05 | 0.1016
Plate 1 | H07 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.2281 | 7.991 | 0.18
Plate 1 | A08 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.5179 | 18.44 | 0.1135
Plate 1 | B08 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.5466 | 15.18 | 0.08356
Plate 1 | C08 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.5273 | 13.11 | 0.08678
Plate 1 | D08 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.2229 | 15.57 | 0.08692
Plate 1 | E08 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.6662 | 20.23 | 0.09438
Plate 1 | F08 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.5064 | 17.46 | 0.1072
Plate 1 | G08 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.2949 | 11.81 | 0.1256
Plate 1 | H08 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.4433 | 9.16 | 0.14
Plate 1 | A09 | Group 1 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | 0.4192 | 13.67 | 0.1258
Plate 1 | B09 | Group 1 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | 0.5317 | 13.47 | 0.1009
Plate 1 | C09 | Group 1 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | 0.4681 | 14.42 | 0.08207
Plate 1 | D09 | Group 1 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | 0.5778 | 15.66 | 0.1098
Plate 1 | E09 | Group 1 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | 0.5995 | 24.91 | 0.1352
Plate 1 | F09 | Group 1 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | 0.5408 | 20.1 | 0.07275
Plate 1 | G09 | Group 1 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | 0.5613 | 17.33 | 0.108
Plate 1 | H09 | Group 1 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | 0.5982 | 11.5 | 0.1577
Plate 1 | A11 | Group 1 | Blank1 | 0.0474 | 0.6603 | 0.06464
Plate 1 | B11 | Group 1 | Blank1 | 0.0484 | 0.6901 | 0.09193
Plate 1 | C11 | Group 1 | Blank1 | 0.0405 | 0.6504 | 0.06421
Plate 1 | D11 | Group 1 | Blank1 | 0.0421 | 0.5621 | 0.03913
Plate 1 | E11 | Group 1 | Blank1 | 0.0394 | 0.5236 | 0.03667
Plate 1 | F11 | Group 1 | Blank1 | 0.0345 | 0.7481 | 0.06349
Plate 1 | G11 | Group 1 | Blank1 | 0.0378 | 0.5255 | 0.05716
Plate 1 | H11 | Group 1 | Blank1 | 0.0387 | 0.5325 | 0.03531
Plate 1 | A12 | Group 1 | Blank1 | 0.0447 | 0.6254 | 0.05606
Plate 1 | B12 | Group 1 | Blank1 | 0.0476 | 0.5284 | 0.0518
Plate 1 | C12 | Group 1 | Blank1 | 0.046 | 0.5316 | 0.0569
Plate 1 | D12 | Group 1 | Blank1 | 0.0393 | 0.5632 | 0.04976
Plate 1 | E12 | Group 1 | Blank1 | 0.0406 | 0.5284 | 0.0483
Plate 1 | F12 | Group 1 | Blank1 | 0.0392 | 0.5019 | 0.03698
Plate 1 | G12 | Group 1 | Blank1 | 0.0385 | 0.5581 | 0.06427
Plate 1 | H12 | Group 1 | Blank1 | 0.038 | 0.5214 | 0.04612

## General information
General information
| Software version | SkanIt Software 6.1 RE for Microplate Readers RE, ver. 6.1.0.51
Laboratory information
| Name | IGLI-ER
| Address | DGH
| Phone | DGHDGM
| Email | DGG

## Session information
Session information
| Session name | 16062023_Sofia_OT2_1t_6h.skax
Session notes
| Software version | SkanIt Software RE for Microplate Readers RE, ver. 6.1.0.51
| Execution time | 16/06/2023 19:01:22
| User | VARIOSKAN2\usuario1

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.38
| Set temperature |  | 24,00 °C
| Optical response compensation |  | Yes
| Serial number |  | 3020-097
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL2034806
|  | Module's name | TRF module
|  | Module's serial number | LT152202
|  | Plate adapter name | 96-well adapter for plate without lid
|  | Plate adapter number | 2
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | No
|  | Dispenser 1 | Yes
|  | Dispenser 2 | Yes

## Protocol parameters
Protocol parameters
| Measurement order |  | 3
| Use settle delay |  | Yes
| Check temperature at start [°C] |  | No
Turbidimetric 1
| Wavelength [nm] |  | 600
| Use transmittance |  | No
| Pathlength correction |  | No
| Measurement Time [ms] |  | 100
msfGFP
Wavelengths
|  | Excitation [nm] | 485
|  | Emission [nm] | 510
| Optics |  | Top
| Excitation bandwidth [nm] |  | 12
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100
mKate2
Wavelengths
|  | Excitation [nm] | 588
|  | Emission [nm] | 633
| Optics |  | Top
| Excitation bandwidth [nm] |  | 12
| Dynamic Range |  | Automatic
| Measurement Time [ms] |  | 100

## Run log
Run log
| Time | Event | Information
| 16/06/2023 19:01:22 | Session 16062023_Sofia_OT2_1t_6h.skax started
| 16/06/2023 19:01:22 | Temperature | 24,9°C
| 16/06/2023 19:01:22 | Step Turbidimetric 1 started
| 16/06/2023 19:01:24 | Calibration | Photometric 1.0 20439846
| 16/06/2023 19:01:37 | Temperature | 24,9°C
| 16/06/2023 19:01:52 | Step Turbidimetric 1 ended
| 16/06/2023 19:01:52 | Step msfGFP started
| 16/06/2023 19:01:59 | Calibration | Fluorometric 1.06055 20443313
| 16/06/2023 19:02:32 | Step msfGFP ended
| 16/06/2023 19:02:32 | Step mKate2 started
| 16/06/2023 19:02:37 | Temperature | 24,9°C
| 16/06/2023 19:03:02 | Step mKate2 ended
| 16/06/2023 19:03:02 | Temperature | 24,9°C
| 16/06/2023 19:03:05 | Session 16062023_Sofia_OT2_1t_6h.skax ended

## Layout definitions
Name | Plate 1
Plate template | ANSI/SBS Standard, 96-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | PIR2 0001 | PIR2 0001 | PIR2 0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 mM IPTG0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 | PIR2 pBLAM12 TS2 0 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
B | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 10 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 0.08 mM IPTG0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 | PIR2 pBLAM12 TS2 1.6 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
C | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 0.15 mM IPTG0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 | PIR2 pBLAM12 TS2 3.1 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
D | LB0001 | LB0001 | LB0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 0.31 mM IPTG0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 | PIR2 pBLAM12 TS2 6.3 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
E | Ctrl IPTG 10mM0001 | Ctrl IPTG 10mM0002 | Ctrl IPTG 10mM0003 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 0.62 mM IPTG0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 | PIR2 pBLAM12 TS2 12.5 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 0 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
F | Ctrl ATC 200 ng0001 | Ctrl ATC 200 ng0002 | Ctrl ATC 200 ng0003 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 1.25 mM IPTG0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 | PIR2 pBLAM12 TS2 25 ngmL aTc0001 |  | Blank1 | Blank1
| Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
| 0 | 0 | 0 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
G |  |  |  | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 2.5 mM IPTG0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 | PIR2 pBLAM12 TS2 50 ngmL aTc0001 |  | Blank1 | Blank1
|  |  |  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
|  |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1
H |  |  |  | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 5 mM IPTG0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 | PIR2 pBLAM12 TS2 100 ngmL aTc0001 |  | Blank1 | Blank1
|  |  |  | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 | Group 1 |  | Group 1 | Group 1
|  |  |  | 1:1 | 1:1 | 1:1 | 1:1 | 1:1 | 1:1